Instructions

8WellChamber,removable

The 8 Well Chamber, removable is a removable silicone chamber, mounted on a glass

slide,forcellcultureandimmunoﬂuorescencestainings.    Itallowstheuseofstandard

cultivation,stainingandmountingtechniqueswithcoverslipsealing.

Aftermountingtheglassslidewithacoverslip,itisreadyfortheusewithuprightand

invertedmicroscopes,aswellasforlongtermstorage.Suitable24mm×60mmcoverslips

areprovidedbyibidi(10811).

Material

ShelfLifeofDifferentSurfaces

ibiTreat,GlassBottom,ESS

Collagen,Poly-L-Lysine

36months

18months

The 8 Well Chamber, removable is comprised of a self–

adhesive silicone gasket mounted on a standard mi-

croscopyglassslide.Thegasketismanufacturedfrombio-

compatiblesiliconematerial. Althoughbothmaterialsare

autoclavableandcompatiblewithalcohols,wedonotrec-

ommendreusingthem. Theglassbottomexhibitsground

edgesandtwinfrostedends.

SurfaceandCoating

The 8 Well Chamber, removable is mounted on an un-

coatedglassslidewithtwinfrostedends.    Washingsteps

(e.g. withPBS)beforecellseedingcanremoveglassdust

whichisadvantageousfordirectcellgrowthonthesur-

face.

Geometry

Protein coatings increase direct cell growth of adherent

cells.Speciﬁccoatingsonglassarepossiblefollowingthis

protocol:

8WellChamber,removableprovidesastandardslidefor-

mataccordingtoISO8037/1.

• Prepareyourcoatingsolutionaccordingtotheman-

ufacturer’sspeciﬁcationsorreference.  Prepareyour

slide. Adjusttheconcentrationtoacoatingareaof

2.63cm2andacoatingvolumeof400µlperwell.

Geometryofthe8WellChamber,removable

Numberofwells

8

• Apply400µlintoeachwell.   Makesurethattheen-

tirebottomiscoveredwithliquidbyslightlytilting

orshakingtheslide.Putonthelidandleavetheslide

atroomtemperatureforatleast30minutes.

Dimensionofwells(w×l×h)

Volumeperwell

7.75×12×8mm

400µl

0.93cm2

2.63cm2

Growthareaperwell

Coatingareaperwell

Bottomsize(w×l×h)

Twinfrostedends

• Aspirate the solution and wash with the recom-

mendedproteindilutionbuffer.   Optionally, letdry

atroomtemperature.  Attention, somecoatingpro-

teinsmightdegeneratewhendrying!

26×76×1mm

13mm

Totalheightwithlid

11mm

SeedingCells

ShippingandStorage

• Trypsinizeandcountcellsasusual.    Dilutethecell

suspensiontothedesiredconcentration.Depending

The µ–Slides, µ–Dishes and µ–Plates are sterilized and

weldedinagas-permeablepackaging.Theshelflifeunder

proper storage conditions (in a dry place, no direct sun-

light)islistedinthefollowingtable.

onyourcelltype,applicationofa4-9×104cells/ml

suspensionshouldresultinaconﬂuentlayerwithin

2–3days.

• Apply 400µl cell suspension into each well of the

slide. Avoid shaking as this will result in inhomo-

geneousdistributionofthecells.

Conditions

Shippingconditions

Storageconditions

Ambient

• Cover the slide with the supplied lid. Incubate at

37°Cand5%CO2asusual.

RT(15-25°C)

8WellChamber,removable

Page1

Version1.0(2016-01-29)

Instructions

8WellChamber,removable

Undemanding cells can be left in their seeding medium

foruptothreedaysandgrowtoconﬂuencethere.     How-

ever, best results might be achieved when the medium

is changed every 1–2 days. Carefully aspirate the old

mediumandreplaceitby400µlfreshmediumperwell.

Note:

The8WellChamber,removableisnotrecommended

forhighresolutionlivecellimagingoninvertedmi-

croscopes since cells grow on a 1mm microscopy

glassslide.

(2)

Paralleltechnique:

All necessary steps (ﬁxation, permeabilization, staining,

washing)arecarriedoutbydippingthewholeslideinto

thesolutionsafterremovingthesiliconegasket(4).

• Starting from one edge, remove the silicone gasket

byhandorbyusingtweezers(2).

SolventsforFixation,StainingandOtherPur-

poses

• Perform your standard staining protocol (ﬁxation,

permeabilization,staining,washing)bydippingthe

slideintothesolutions(3).

8 Well Chamber, removable is compatible to methanol,

acetone,acids,alkalis,PFA,DMSO,siliconeoil,andmin-

eraloilforcellculture.

ImmunoﬂuorescenceMicroscopy

Aftercultivation,thecellscanbeﬁxedandstainedintwo

differentways.

Singlewelltechnique:

Allstepsarecarriedoutinthesinglewellsbeforeremov-

ingthesiliconegasket.

(3)

Mounting:

• Perform your standard staining protocol (ﬁxation,

permeabilization, staining, washing) in the single

wells(1).

Mount the slide with a coverslip 24 mm × 60 mm (ibidi

#10811) and a permanent mounting medium of your

choice(4).

• Starting from one edge, remove the silicone gasket

byhandorbyusingtweezers(2).

(1)

(4)

8WellChamber,removable

Page2

Version1.0(2016-01-29)

Instructions

8WellChamber,removable

Tip:

For mounting of slide samples, a hardening per-

manent mounting medium such as Fluoroshield™

(Sigma-Aldrich), Vectashield® (Vector Laboratories

Inc.)orProLong®Antifade(ThermoFisherScientiﬁc)

isrecommended.

ibidiMountingMediumisnotrecommendedbecause

itisnon–hardeningandstaysaliquid(whichisad-

vantageousforµ–Slidesandµ–Dishes).

8WellChamber,removable

Page3

Version1.0(2016-01-29)

Instructions

8WellChamber,removable

OrderingInformation

Cat.No.

Description

80381

3WellChamber,removable:microscopyglassslide,sterilized

80841

81201

10811

10815

8WellChamber,removable:microscopyglassslide,sterilized

12WellChamber,removable:microscopyglassslide,sterilized

Coverslips60mm,unsterileforChambers,removable,#1.5H(170±5µm)D263MSchottglass,24mm×

Coverslips and Coverslip Pick-Up Tool for 3Well Chamber, removable: # 1.5H (170  ±

5µm)D263MSchottglass,15mm,unsterile,includingonesiliconerubbertoolforconve-

nientglasscoversliphandling

Forresearchuseonly!

FurthertechnicalspeciﬁcationscanbefoundatForquestionsandsuggestionspleasecontactusbye-mailinfo@ibidi.de

orbytelephone+49(0)89/52046170.AllproductsaredevelopedandproducedinGermany.

©ibidiGmbH,AmKlopferspitz19,82152Martinsried,Germany.

8WellChamber,removable

Page4

Version1.0(2016-01-29)